## Table 1
CONSTRUCTION/REPAIR WORKS IN TOILETS & REFURBISHMENT WORKs IN 03 CLASS ROOMs
A | Cost Estimate of GGPS Touda -Peshawar
S/N | MRS-2022 Ref: | Activities | Unit | Quantity | Unit Rate | Total Cost
[5 empty] | PKR | PKR
1 | 04--13 | Dismantling brick work in lime or cement mortar ,include the rate of disposal of rubbish to the dumping ground within half KM lead. | Cft | 790
2 | 04-19-c | Dismantling : Plain Cement Concrete 1:2:4 include the cost of disposal of materials.Inculde the rate of disposal of rubbish to the dumping ground within half KM lead. | Cft | 823
3 | NSI | Removing of Existing Damaged Doors and Windows | Each | 13
4 | 04-48-b | Removing of Old/Damaged Plaster of rooms wall (10 ft avg height) Inculde the rate of disposal of rubbish to the dumping ground within half KM lead | Sft | 4623
5 | 03-25-d | Excavation in foundation of building, bridges etc complete in all soil | Cft | 686
6 | 06-05-f | Cement Concrete in Foundation - Ratio (1:2:4) including placing, compacting, finishing and Curing. | Cft | 686
7 | 06-07-a-03 | RCC in roof slab, beam, column & other structural members (1:2:4) | Cft | 47
8 | 06-47-c | Erection and removal of Form work with Plywood sheet finishing for RCC or Plain cement Concrete in any shpae - Position / Horizontal (for slab + 1.5' projection) | Sft | 42
9 | 03-18-a | Filling, watering and ramming earth under floor with surplus earth from foundation, etc | Cft | 245
10 | 06-08-c | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 40) | Kg | 107
11 | 10-49-c | P/F pre cast concrete 7000 PSI tuff tiles 60 mm Thick over bed of 2" thick sand | sft | 210
12 | 10-26-c-ii | Provide & lay marble fine dressed stone flooring on surface in white cement complete: 3/4" thick 12 x 12 Sunny White Marble | Sft | 1450
13 | 10-45-b-ii | Provide & lay marble fine dressed stone dado or skirting in white cement complete: 0.5" thick 12 x 12 Sunny White Marble | Sft | 1116
14 | 10-47-d | Providing and Fixing marble strip 2" wide and 3/8" thick for dividing the floor into panels in plinth protection. | Rft | 368
15 | 07-05-a-02 | Pacca brick work in ground floor Cement, sand mortar 1:3 | Cft | 993
16 | 06-26-b-03 | Damp proof course of cem. conc. 1:2:4 including bitumen coat, 1 layer polythene & 2 coats bitumen (3" thick) | Sft | 71
17 | 11-18-a | Cement pointing struck joints, on walls, upto 20' height : Ratio 1:2 | Sft | 735
18 | 25-60-a | Supply and fixing razor wire (2'-0" dia) consisting of 1-1/2"X1-1/2"X3/16" angle iron Y post 2'-6" long 6' to 8' center to center embedded in concrete block of size 3"X9"X6" (PCC 1:2:4), at top of boundary wall including painting posts etc. Complete in all respects. | Sft | 109
19 | 25-38 | Providing and Fixing GI wire gauze 24 SWG, (12x12) meshes per sq.in., fixed to steel windows or doors etc, complete in all respects | Sft | 160
20 | 27--04 | Repairing & re-fixing of steel main gate i/c hold fast, welding complete in all respects 40) | Sft | 170
21 | 11-07-b | Cement plaster 1:2, upto 20' height 1/2" thick | Sft | 5656
22 | 25-44 | Supplying and Fixing 18SWG Steel Almirah, 12" max depth including box shelves, back, shelves, lock, spray paint complete | Sft | 60
23 | 25-45-a | Supplying and Fixing 18 SWG MS Sheet Door/ventilator with angle iron Glass, frame (1.5"x1.5"x1/8"), bolt, hinges, paint etc complete | Sft | 52.5
24 | 12-57-b | Providing and fixing double leaf steel door with frame fully panelled with M.S sheet 16 gauge (1.59mm) painted with two coats of red oxide paint with brass fitting of approved make including cost of fabrication, iron lugs, cutting holes and making good the damages to walls. | Sft | 102
25 | 25-39-b-05 | Providing and Fixing steel windows 18 gauge with openable glazed panels With 22 SWG wire gauze : Glass pane 5mm | Sft | 128
26 | 25-53 | Providing, making and fixing of steel grill of MS pipe (2"x1") omamental design i/c cost of paiting complete. | Sft | 128
27 | 25-56 | Providing and fixing steel gate of 16-18 SWG MS Sheet Gate with angle iron frame (2"x2"x3/16") with side window, lock, painting etc M.S. sheet covering including hold fast, with or without rollers and track arrangement including providing wicket shutter of required size with all accessories and locking arrangement complete | Sft | 80
28 | 04-45-b | Scraping : Ordinary distemper, oil bound distemper or paint off wall | Sft | 10236
29 | 11-21-b-02 | Distempering Old surface : Two coats | Sft | 10236
30 | 11-21-a-03 | Distempering New surface : Three coats | Sft | 4623
31 | 13-25-a+13-25- b | Preparing surface & painting with snowcem / weathershield paint : First coat and Second & subsequent coats | Sft | 3788
32 | 14-105 | Supply and fixing of Glass Pane 5mm Black colour best quality imported | Sft | 50
33 | 10-39-a | Glazed tile 1/4" thick dado jointed in white cement complete : White Plain tiles | Sft | 315
34 | 13-02-c-02 | Painting old surfaces : Doors / windows any type Each subsequent coat | Sft | 3855
35 | 25-58-c | Providing and fixing of parking shed consisting of fiber glass Sheet, tubular pipe frame (heavy) quality and circular columns excluding cost of foundation | Sft | 400
36 | NSI | Supply and Fixing White Board with aluminum frames is a dry Erase Board makes,the surface resist scratching and earses easily without ghosting ,having size (10x4 feet and minimum 1" Thick) Good Quality as per approved Standrad and Incharge Engineer. | Each | 8
37 | NSi | Painting Cartoons and Writing Proverbs on Walls, complete in all respect or as directed by Engineer | Each | 10
Total Cost-A
B |  | Electrification Works
S/N | MRS-2022 Ref: | Activities | Unit | Quantity | Unit Rate | Total Cost
[5 empty] | PKR | PKR
1 | 15-202-c | S/Fixing 4-core flexible Aluminium cable for service of transformer to main board (19/64) | RFT | 100
2 | 15-06-c | Supply/errection Electric wire 7/29 pvc insulated+sheaSupply and Erection single core PVC nsulated+sheathed copper conductor 250/440 V grade cable : 7/0.029thed copper wire , 250/440 V grade(Pak/FAST cables) | Rft | 400
| 15-50 | Dismantling light, fan and call bell point including casing, capping/strip open type complete | Points | 60
3 | 15-50 | Wiring of light/fan/call-bell point in 3/0.029" PVC insulated bare cable in PVC pipe recessed | Points | 60
4 | 26-01-c-05 | Supply and erection of AC energy efficient LED light/Bulbs (7-10 W) ,Philips,Skyled or Equal event with at least 1 year Warranty. | No | 35
5 | 26-01-c-07 | Supply and Erection of AC ENERGY EFFICIENT LED LIGHT BULBS (21-30 W)Philips,Skyled or Equalevent with atleast 1 year Warranty. | No | 24
6 | 26-01-l-01 | Supply and Erection of AC ENERGY EFFICIENT CEILING FANS 56 inch, 50 W | No | 18
7 | 15-127-m | Supply at site, installation, testing and commissioning of Fan Dimmer with switch/ MS, powder coated back box with all associated accessories, complete in all respects | No | 24
8 | 15-84 | Supply and fitting of capacitor 2.2 uf for ceiling fans | No | 12
9 | 15-69-b | Supply and Erection best quality exhaust fan complete with shutter & regulator : 16"sweep | Each | 3
10 | 15-09-f | Supply and Erection MS sheet box of 16 SWG, 4"deep with 3/16" thick bakelite sheet top etc. complete : 12"x14" | Each | 12
11 | 15-25 | Supply and erection girder clamp hook, 5/8" dia for hanging ceailing fans | Each | 8
12 | 15-11-b-04 | Supply and Erection of iron/aluminium clad, 500V main switch Triple pole with neutral link : 100 Amp. | Each | 1
13 | 15-71-a | Supplying and erection single phase imported auto circuit breaker 6 AMP | Each | 10
14 | 15-71-d | Supplying and erection single phase imported auto circuit breaker 30 AMP | Each | 6
15 | 04--49 | Dismantling light, fan and call bell point including casing, capping/strip open type complete | Points | 60
16 | NSI | Supplying and installation of best qualityTall Tubular 250 AH lead acid battery with one year free replacement warranty. | Each | 2
17 | NSI | Submersible Water Pump with motor 1 HP (0.75 W) and required supply cable from inverter to water pump motor ,steel rope etc. complete with all aspects as per instruction of Engineer. (JDs Or Equivalent. | Each | 1
Total Cost-B
C |  | Sanitary/Plumbing
S/N | MRS-2022 Ref: | Activities | Unit | Quantity | Unit Rate | Total Cost
[5 empty] | PKR | PKR
1 | 14-71-b | Providing and Fixing of polydex high pressure PPR (green including testing ect complete 20 mm(including all special etc) | Rft | 100
2 | 14-71-a | Providing and fixing of polydex high pressure (PPR) green including testingn etc complete 1 " dia (25 mm including all specials) etc | Rft | 100
3 | 14-55-e | Providing and Fixing GI pipe & including specials complete: 3/4" dia (light) | Rft | 20
4 | 24-18-a-02 | Providing, laying, cutting, jointing, testing and disinfecting 4" dia UPVC pipe class B laid in trenches from WC, floor trap to manhole/septic tank/soakage pit all as specified | Rft | 70
5 | 24-18-a-01 | Providing, laying, cutting, jointing, testing and disinfecting 3" dia UPVC pipe class B for vent pipe | Rft | 20
6 | 24-33-c | Supplying and fixing, cast iron manhole cover with frame, etc. (Heavey Type) of approved quality complete. 18" (450 mm) dia. | Each | 2
7 | 14-03-a | Providing and fitting glazed earthenware water closet (WC), squatter type (orisa pattern) combined with foot rest. complete in all respects : White | Each | 3
8 | 14-24-b | providing and fixing chromium plated bib-cock heavy duty of approved quality, Steel Bib-cock 1/2" dia | Each | 12
9 | 24-18-b-01 | Providing and Fixing UPVC ventilation pipe 2” dia with specials & cowl complete, class-C pipe | Rft | 26
10 | 14-32-a | Providing and Fixing 'P' trap of approved quality including GI grating & PCC chamber 4" (100 mm) of cast iron (Best Quality) | Each | 3

## Table 2
11 | NSI | Providing and Fixing CP grab rail : 2" long, 1" dia fixed as per drawing | Each | 2
12 | Cost Estimate of GGPS Touda -Peshawar | providing and fixing glazed earthen ware low down flushing cistern 3 gallons capacity including bracket set , copper connection, etc . Complete in all respect, White | Nos | 3
13 | 14-14-a | Providing and fixing choricum plated soap dish complete. | Each | 3
14 | 14-104-b | Supply and Fixing of CP floor Truff Jalli with Grating 6"×6" complete | Each | 3
15 | NSI | Provision & installation of visibility Board (2x2) Steel with printing and Logos (Design Approved by Engineer) | Each | 1
Total cost-C
Grand Total Cost in PKRS=
General Note/Specifications:- i).Payment will be paid to vendor as per Actual work done on site.And Vendor will submit MB of All Work done on site on Completion. ii).Prior start of any Activities the materials sample must be approved from Engineer In charge and approved material will be used. iii). All Activities will be done As per Engineering Standards and Govt of KP Specifications. iv). Govt Approved brands will be used and strictly follow the instructions. V).If Any changes would require on site ,would be review and approve for Engineer In charge prior Execution. VI).The price includes all builders’ Works, making good and reinstatement including necessary materials and workmanship as well as removal of unwanted materials to dump sites and tronsputation cost, asper instruction of Engineer Inchrage. Vii.As per national policy “The children under the age of 18 years cannot be employed and not be involve at any stage of construction- Process. Viii)All HSE related precautionary measure should be followed by vendor on site and the cost of HSE should include in quoted rates. iX).Employer is obligated to provide PPS such as high vis vests, safety goggles and safety harnesses to construction site workers and the Cost should inculde in the items Qaouted Rates.