## Table 1
CONSTRUCTION OF PWD LATRINE & REPAIR WORKs OF SECOND FLOOR Of SCHOOL BUILDING
A |  | MAIN BUILDING-GGPS #1 Din Bahar Colony
S/N | MRS-2022 Ref: | Activities | Unit | Quantity | Unit Rate | Total Cost
[5 empty] | PKR | PKR
1 | 03-25-d | Excavation in foundation of building, bridges etc complete in all soil | Cft | 191
2 | 06-05-f | Provide & lay topping of concrete 1:2:4, including surface finishing & dividing in panels : | Cft | 222
3 | 07-05-a-02 | Pacca brick work in ground floor Cement, sand mortar 1:3 | Cft | 288
4 | 06-07-a-03 | RCC in roof slab, beam, column & other structural members (1:2:4) | Cft | 84
5 | 06-47-c | Erection and removal of Form work with Plywood sheet finishing for RCC or Plain cement Concrete in any shpae - Position / Horizontal (for slab + 1.5' projection) | Sft | 120
6 | 06-47-d | Erection and removal of Form work with Plywood sheet finishing for RCC or Plain cement Concrete in any shape - Position / Vertical (For lintel beam) | Sft | 194
7 | 06-08-c | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 40) | Kg | 225
8 | 11-07-b | Cement plaster 1:2, upto 20' height 1/2" thick | Sft | 997
9 | 03-18-a | Filling, watering and ramming earth under floor with surplus earth from foundation, etc | Cft | 48
10 | 06-26-b-03 | Damp proof course of cem. conc. 1:2:4 including bitumen coat, 1 layer polythene & 2 coats bitumen (3" thick) | Sft | 46.5
11 | 25-45-a | Supplying and Fixing 18 SWG MS Sheet Door/ventilator with angle iron frame (1.5"x1.5"x1/8"), bolt, hinges, paint etc complete | Sft | 114
12 | 11-21-a-03 | Distempering New surface : Three coats | Sft | 997
13 | 04-45-b | Scraping : Ordinary distemper, oil bound distemper or paint off wall | Sft | 13004
14 | 11-21-b-02 | Distempering Old surface : Two coats | Sft | 13004
15 | 13-25-a+13- 25-b | Preparing surface & painting with snowcem / weathershield paint : First coat & nd & subsequent coats | Sft | 6000
16 | 14-105 | Supply and fixing of Glass Pane 5mm Black colour best quality imported | Sft | 32.5
17 | 10-39-a | Glazed tile 1/4" thick dado jointed in white cement complete : White Plain tiles | Sft | 1968
18 | 13-02-c-02 | Painting old surfaces : Doors / windows any type Each subsequent coat | Sft | 4042
19 | 27-04 | Repairing & re-fixing of steel Door /windowg ate i/c hold fast, welding complete in all respects | Sft | 630
20 | NSI | Painting Cartoons and Writing Proverbs on Walls, complete in all respect or as directed by Engineer | Each | 10
21 | NSI | Black Board paint (10x4 feet in size) as per instruction of incharge Engineer. | Each | 7
Total Cost-A
B |  | Electrification
S/N | MRS-2022 Ref: | Activities | Unit | Quantity | Unit Rate | Total Cost
[5 empty] | PKR | PKR
1 | 15-51 | Wiring of 2/3-pin 5-Amp . Plug point in 3/0.029" pvc insulated cable in PVC pipe recessed, complete in all respects | Each | 4
2 | 26-01-c-05 | Supply and erection of AC energy efficient LED light/Bulbs (7-10 W) | No | 30
3 | 26-01-c-07 | Supply and Erection of AC ENERGY EFFICIENT LED LIGHT BULBS (21-30 W) | No | 12
4 | 26-01-l-01 | Supply and Erection of AC ENERGY EFFICIENT CEILING FANS 56 inch, 50 W | No | 15
5 | 15-127-m | Supply at site, installation, testing and commissioning of Fan Dimmer with switch/ MS, powder coated back box with all associated accessories, complete in all respects | No | 4
6 | 15-84 | Supply and fitting of capacitor 2.2 uf for ceiling fans | No | 12
7 | 15-69-a | Supply and erection best quality exhaust fan complete with shutter and regulator 12" sweep | Each | 1
8 | 14-79-b | uSpply and fixing of 1.0 HP Monoblock water pump 1.25"x1" single phase upto 90 ft head (Type SE) i/c all accessories | Each | 1
9 | NSI | Repair/Repalce the Electricity board sheet with 04 ,2 plug shoe and button and fan diemer. | Each | 4
10 | 15-18-b | Supply and Erection switches 10/15 Amp : Recessed type | No | 12
Total Cost-B
C |  | Sanitary/Plumbing
S/N | MRS-2022 Ref: | Activities | Unit | Quantity | Unit Rate | Total Cost
[5 empty] | PKR | PKR
1 | 14-71-b | Providing and Fixing of polydex high pressure PPR (green including testing ect complete 20 mm(including all special etc) | Rft | 100
2 | 14-71-a | Providing and fixing of polydex high pressure (PPR) green including testingn etc complete 1 " dia (25 mm including all specials) etc | Rft | 250
3 | 24-18-b-05 | roviding, laying, cutting, jointing, testing and disinfecting UPVC pressure pipeline in trenches (conforming to BS 3505 manufactured ) jointed with socket, elbow, tee, bend and plug bend etc.manufactured by the respective manufacturer complete as per specifications UPVC Pressure Pipes Class C (9 Bar) except excavation. 5" Nominal Pipe Size (NPS) | Rft | 352
4 | 24-18-a-02 | Providing, laying, cutting, jointing, testing and disinfecting 4" dia UPVC pipe class B laid in trenches from WC, floor trap to manhole/septic tank/soakage pit all as specified | Rft | 40
5 | 24-18-a-01 | Providing, laying, cutting, jointing, testing and disinfecting 3" dia UPVC pipe class B for vent pipe | Rft | 20
6 | 14-24-b | providing and fixing chromium plated bib-cock heavy duty of approved quality, Steel Bib-cock 1/2" dia | Each | 21
7 | 24-18-b-01 | Providing and Fixing UPVC ventilation pipe 2” dia with specials & cowl complete, class-C pipe | Rft | 12
8 | 14-32-a | Providing and Fixing 'P' trap of approved quality including GI grating & PCC chamber 4" (100 mm) of cast iron (Best Quality) | Each | 1
9 | 14-01-a | Providing and Fixing glazed earthen ware WC European type including cost of seat & cover all required specials/accessories | Each | 1
10 | NSI | Providing and Fixing CP grab rail : 5' long, 1" dia fixed as per drawing | Each | 2
11 | 25-47 | Supply and fixing of fancy type stainless steel chromium plate 2" dia pipes stair railing 3/4" dia pipe fixed on specified space on steps in horizontal positions, complete in all respects, grab rail : 9' long, 2" dia, both sides | Rft | 20
12 | 14-69-b-03 | S/F polyethyene water tank made from food grade FDA certified raw materials 3 layers UV stablized inert with water, anti fungus and anti bacterial and have a service life of more than 10 years: 500 gallons (vertical) | Each | 1
13 | 14-10-a | providing and fixing glazed earthen ware low down flushing cistern 3 gallons capacity including bracket set , copper connection, etc . Complete in all respect, White | Nos | 6
14 | 14-05-a-02 | Providing and Fixing glazed earthen ware wash hand basin (WHB) complete size 56x40 cm (22"x16"), including bracket set, waste coupling, complete in all respects: Colour with pedestal (Best Quality) | Each | 4
15 | 14-14-a | Providing and fixing choricum plated soap dish complete. | Each | 8
16 | 14-104-b | Supply and Fixing of CP floor Truff Jalli with Grating 6"×6" complete | Each | 6
17 | 14-17-a | Providing and fixing best quality looking glass 5 mm thick neatly fitted on masonry wall etc. as per instruction of Engineer In-charge complete. Mirror 60 x 45 cm (24"x18") size | Each | 4
18 | NSI | Removing of Existing Cost iron rainwater down Pipe | Rft | 320
19 | 14-86 | Providing & fixing chromium plated double bib-cock with Muslim Shower of approved quality Complete is all respects. | Each | 1
20 | NSI | Supply and fixing of lasani wood almirah having size in (18"x42") fixed in wall as per instruction of Engineer incharge in MHM washroom. | Each | 1
21 | NSI | Providing and fixing best quality looking glass 5 mm thick neatly fitted on masonry wall etc. as per instruction of Engineer In-charge complete. Mirror (36"x18") size (for MHM Only) | Each | 1
22 | NSI | Provision & installation of visibility Board (2x2) Steel with printing and Logos (Design Approved by Engineer) | Each | 1
Total cost-C
Grand Total Cost in PKRS=
General Note:- i).Payment will be paid to vendor as per Actual work done on site.And Vendor will submit MB of All Work done on site on Completion. ii).Prior start of any Activities the materials sample must be approved from Engineer In charge and approved material will be used. iii). All Activities will be done As per Engineering Standards and Govt of KP Specifications. iv). Govt Approved brands will be used and strictly follow the instructions. V).If Any changes would require on site ,would be review and approve for Engineer In charge prior Execution. VI).The price includes all builders’ Works, making good and reinstatement including necessary materials and workmanship as well as removal of unwanted materials to dump sites and tronsputation cost, asper instruction of Engineer Inchrage. Vii.As per national policy “The children under the age of 18 years cannot be employed and not be involve at any stage of construction- Process. Viii)All HSE related precautionary measure should be followed by vendor on site and the cost of HSE should include in quoted rates. iX).Employer is obligated to provide PPS such as high vis vests, safety goggles and safety harnesses to construction site workers and the Cost should inculde in the items Qaouted Rates.