# **REQUEST FOR QUOTATION (RFQ)**

|  |  |
| --- | --- |
| RFQ Reference: **RFQ/PAK/March/2023 /004** | Date: 16 March 2023 |

# **SECTION 1: REQUEST FOR QUOTATION (RFQ) for Construction of 250-One Room Shelter (ORS) +Latrine at Daraban DI Khan.**

International Organisation for Migration (IOM) kindly requests your quotation for the provision of goods, as detailed in Annex 1 of this RFQ.

This Request for Quotation comprises the following documents:

Section 1: This request letter

Section 2: RFQ Instructions and Data

Annex 1: Schedule of Requirements

Annex 2: Quotation Submission Form

Annex 3: Technical and Financial Offer

When preparing your quotation, please be guided by the RFQ Instructions and Data. Please note that quotations must be submitted using Annex 2: Quotation Submission Form and Annex 3 Technical and Financial Offer, by the method and by the date and time indicated. It is your responsibility to ensure that your quotation is submitted on or before the deadline. Quotations received after the submission deadline, for whatever reason, will not be considered for evaluation.

Thank you and we look forward to receiving your quotations.

Approved by:

Signature:

Name: Abeer Alalami

Title: Procurement and Logistics Officer

Date: 03/01/2023

## **SECTION 2: RFQ INSTRUCTIONS AND DATA**

|  |  |
| --- | --- |
| **Deadline for the Submission of Quotation** | **24 March 2023**If any doubt exists as to the time zone in which the quotation should be submitted, refer to <http://www.timeanddate.com/worldclock/>. |
| **Method of Submission** | Quotations must be submitted as follows: [ ]  E-tendering[x]  Email[ ]  Courier / Hand delivery[ ]  Other Click or tap here to enter text.Bid submission address: **pakbids@iom.int*** File Format: PDF
* File names must be maximum 60 characters long and must not contain any letter or special character other than from Latin alphabet/keyboard.
* All files must be free of viruses and not corrupted*.*
* Max. File Size per transmission: 4MB
* Mandatory subject of email: **RFQ/PAK/Jan/2023 /004 Construction of 250-One Room Shelter (ORS)+Latrine at Daraban DI Khan.**
* Multiple emails must be clearly identified by indicating in the subject line “email no. X of Y”, and the final “email no. Y of Y.
* It is recommended that the entire Quotation be consolidated into as few attachments as possible.
* The proposer should receive an email acknowledging email receipt.
 |
| **Cost of preparation of quotation** | IOM shall not be responsible for any costs associated with a Supplier’s preparation and submission of a quotation, regardless of the outcome or the manner of conducting the selection process. |
| **Supplier Code of Conduct** | All prospective suppliers must read the UN Supplier Code of Conduct and acknowledge that it provides the minimum standards expected of suppliers to the UN. The Code of Conduct, which includes principles on labour, human rights, environment and ethical conduct may be found at: [Supplier Code of Conduct (ungm.org)](https://www.ungm.org/Public/CodeOfConduct).  |
| **Conflict of Interest** | **UN encourages every prospective Supplier to** avoid and prevent conflicts of interest, by disclosing to UN if you, or any of your affiliates or personnel, were involved in the preparation of the requirements, design, specifications, cost estimates, and other information used in this RFQ. |
| **General Conditions of Contract** | Any Purchase Order or contract that will be issued as a result of this RFQ shall be subject to the IOM General Conditions of Contract for provision of goods/services/transportation/medical services available at https://www.iom.int/do-business-us-procurement.  |
| **Eligibility** | Bidders shall have the legal capacity to enter into a binding contract with IOM and to deliver in the country, or through an authorized representative. |
| **Currency of Quotation** | Quotations shall be quoted in **PKR**  |
| **Duties and taxes** | The International Organization for Migration is exempt from all direct taxes, except charges for public utility services, and is exempt from customs restrictions, duties, and charges of a similar nature in respect of articles imported or exported for its official use. All quotations shall be submitted net of any direct taxes and any other taxes and duties, unless otherwise specified below: All prices shall:[x]  be inclusive of VAT and other applicable indirect taxes[ ]  be exclusive of VAT and other applicable indirect taxes |
| **Language of quotation and documentation including catalogues, instructions and operating manuals** | English |
| **Documents to be submitted** | Bidders shall include the following documents in their quotation:[x]  Annex 2: Quotation Submission Form duly completed and signed[x]  Annex 3: Technical and Financial Offer duly completed and signed and in accordance with the Schedule of Requirements in Annex 1[x]  Other Work Plan  |
| **Quotation validity period** | Quotations shall remain valid for **90** days from the deadline for the Submission of Quotation. |
| **Price variation** | No price variation due to escalation, inflation, fluctuation in exchange rates, or any other market factors shall be accepted at any time during the validity of the quotation after the quotation has been received.  |
| **Partial Quotes** | [x]  Not permitted[ ]  Permitted  |
| **Payment Terms** | [x]  100% within 30 days after payment document is submitted for actual work done on completion of each activity of the project.[ ]  Other  |
| **Contact Person for correspondence, notifications and clarifications** | Focal Person: Irfan ZafarE-mail address: izafar@iom.intAttention: Quotations shall not be submitted to this address but to the address for quotation submission above. |
| **Clarifications** | Requests for clarification from bidders will not be accepted any later than 01 day before the submission deadline. Responses to request for clarification will be communicated by email by 21 March 2023 |
| **Evaluation method** | [x] The contract will be awarded to the lowest price substantially compliant offer[ ]  Other Click or tap here to enter text. |
| **Evaluation criteria** | [x] Full compliance with all requirements as specified in Annex 1 [x] Full acceptance of the General Conditions of Contract[x] Comprehensiveness of after-sales services[ ] Earliest Delivery /shortest lead time [ ] Others *(for ex, environmental criteria/considerations, etc)*   |
| **Right not to accept any quotation** | IOM is not bound to accept any quotation, nor award a contract or Purchase Order |
| **Right to vary requirement at time of award** | At the time of award of Contract or Purchase Order, IOM reserves the right to vary (increase or decrease) the quantity of services and/or goods, by up to a maximum 25% of the total offer, without any change in the unit price or other terms and conditions. |
| **Type of Contract to be awarded** | Purchase Order  |
| **Expected date for contract award.** | 31 March 2023 |
| **Policies and procedures** | This RFQ is conducted in accordance with Policies and Procedures of IOM  |
| **UNGM registration** | IOM is encouraging all suppliers to register at the United Nations Global Marketplace (UNGM) website at [www.ungm.org](http://www.ungm.org). The Bidder may still submit a quotation even if not registered with the UNGM, however, if the Bidder is selected for Contract award of USD 100,000 and above, the Bidder is recommended to register on the UNGM prior to contract signature. For vendors who do not have the technical means to register in UNGM, the UNGM has implemented an assisted vendor registration functionality that allows IOM procurement personnel to add local vendors to the UNGM.  |

## **ANNEX 1: SCHEDULE OF REQUIREMENTS**

**Technical Specifications for Project – 1. Construction of One-Room shelter at Daraban DI Khan.**

|  |  |  |  |
| --- | --- | --- | --- |
| **S#** | **Description** | **Quantity** | **Unit** |
|  | **General Note**i). Payment will be paid to vendor as per Actual work done on site.ii). Prior start of any Activities the materials sample must be approved from Engineer In charge and approved material will be used.iii). All Activities will be done following the do no harm policy. iv). If Any changes would require on site, would be review and approve from Engineer In charge prior Execution.V). The price includes all builders’ Works, making good and reinstatement including necessary materials and workmanship as well as removal of unwanted materials to dump sites and transportation cost, asper instruction of Engineer Incharge. |  |  |
| **1** | **Earth Works** |  |  |
| **i)** | **Site Preparation (Clearing & Grubbing)** |  |  |
| i.1) | Clearing & Grubbing, Levelling & dressing of surface areas wherever required i/c Removing loose soil, removing shrubs & roots etc. and levelling of natural ground and disposal of surplus excavated stuff to the suitable place or in ditches within the village. |  | Sft. |
| **2** | **Foundation/Sub-Structure work** |  |  |
| i) | Excavation in natural ground soil / common material up to 2ft depth including making workspaces, removing of surplus soil and backfill where required as per drawings and specification and or as directed by the Engineer. | 171 | Cft. |
| ii) | Providing and laying Plain Cement Concrete - 1:4:8 in wall foundation including mixing, placing, compaction and curing etc. complete in all aspects. | 37.62 | Cft. |
| **a)** | **Burnt Brick Masonry** |  |  |
| i) | Providing and laying of First-class Fire brick masonry set in 1:6 cement sand mortar in foundation and upto 2ft depth including making alignment and curing etc. complete in all aspects as shown in drawings and specification and or as directed by the Engineer. | 181.69 | Cft. |
| ii) | Earth filling in floors with locally available soils (Preferably sandy soil) in floors up to 1ft laid 6" thick layers, including levelling, watering and compacted / rammed properly complete in all aspects. | 270 | Cft. |
| iii) | Adobe mud Plinth Protection all around the shelter walls uo to Plinth /DPC level in Triangular or Rectangular shape to protect the rainwater / flood water into the foundation work. | 218.75 | Cft. |
| **3** | **Door & Windows** |  |  |
| i) | MS steel double leaf Door (3.5' x 7') with angle iron frame as per specifications.Providing and installing double shutter leaf door including Angle Iron frame, MS Door shutters, Sliding bolts / Tower bolt and Achorage etc. Also include 2 coats of red oxide, painted with oil Paint of recommended color and or as directed by the Engineer complete in all aspects | 1 | Nos. |
| ii) | MS Steel Windows (3.5' x 4') with angle iron frame and MS sheet shutter leaf’s and providing and fixing steel grill mesh made of 3/8" squire bars at 7" c/c distance. | 1 | Nos. |
| **4** | **Flooring** |  |  |
| i) | Providing and laying of 3" thick Plain cement concrete of 1:3:6 using graded stone ballast 3/4" and down gauge graded stone crush including levelling, compacting, and curing etc. complete.  | 45 | Cft. |
| ii) | Providing and laying 2" thick Plain cement concrete [PCC 1:2:4] finishing layer; trowel finished, providing gradient slope for wastewater drainage, and washing etc. complete in all aspects | 180 | Sft. |
| **5** | **Super-Structure work** |  |  |
| i) | Providing and laying Damp Proof Course of polythene sheet, 15" wide with proper overlap at joints and corners. | 66.4 | Sft. |
|  | **First Class Burnt Bricks** |  |  |
| ii) | Providing and laying 9" thick brick masonry set in 1:6 cement sand mortar above plinth level including cost of erection and removing scaffolding and closing holes making alignment and curing etc. complete in all aspects as per drawings and specification and or as directed by the Engineer. | 428.44 | Cft. |
| iii) | Providing and laying reinforced cement concrete Pre-Cast Lintel beams of (4.5'x9"x6") for door and window openings using (using well graded crushes stone and well graded fine aggregate of crushing strength of 3000 psi at 28 days with a mix not leaner than 1:2:4 in Pre-cast beams including form work and its removal, compacting leveling and curing etc. including Provision and binding and fixing of 4 Nos. 3/8" dia bars and stirrups of G-60 Mil steel bars in lintel beam and fixing over the door and window openings in masonry work. | 2 | Nos. |
| iv) | Providing and fixing in masonry walls, Pre-cast Cemented Ventilators of Nominal Size 1'-6" x 1ft size or as approved by the Engineer complete in all aspects. | 2 | Nos. |
| **6** | **Plaster Work** |  |  |
|  | **Cement Plaster** |  |  |
| i) | 3/4" (19mm) average minimum thick Cement sand (CS) plaster of 1:4 ratio including making edges, comers, curing and scaffolding etc. complete. From EGL to plinth level only | 85 | Sft. |
| **7** | **Roof Work** |  |  |
| i) | Providing, Laying, and fixing of steel Girder (I-Section Beam) in wall masonry with 1:2:4 cement concrete from both sides to make it firm. The girder of weight 2.5 Kgs/Rft and minimum web height 7" with 3" wide surface. | 27 | Rft. |
| ii) | Providing, laying, and fixing 2" minimum dia at top of Golden chuwari bamboo of good quality, matured of 2 years age, termite treated laid in longer span properly fixed, Binded with girder, Overlapped and anchoraged in masonry work in walls laid in alternative directions. | 208 | Rft. |
| iii) | Providing, Laying & Fixing Chick/Matt of size of 3/8" dia sticks binded with cotton rope at each 1.5ft interval minimum of standard size (8x10ft) or 10 x 20ft. Chick matts laid with proper overlap, binded with Bamboos properly with cotton rope or steel wire. | 208 | Sft. |
| iv) | Providing and laying thick good quality stretchable Plastic sheet of minimum 20 micron per sft, laid properly without damage or puncture to ensure water proofing. | 208 | Sft. |
| v) | Providing & Laying 1-1/2" thick average mud layer mixed with wheat straw or rice husk / buff and providing slope to drain off rainwater properly. | 180 | Sft. |
| vi) | Providing and installing 3" dia 2ft in length drainpipes to drain off rainwater. | 2 | Nos. |
|  | **Total Amount** |  |

**Technical Specifications for Project – 2. Construction of IOM POUR FLUSH LATRINE at Daraban DI Khan.**

|  |  |  |  |
| --- | --- | --- | --- |
| **S#** | **Description** | **Quantity** | **Unit** |
| 1 | Cement Fresh (Ordinary Portland (OPC) cement) |  11 | Bags |
| 2 | Sand (Local sand with sharp angular edges, free from impurities and organic wastes.) |  47  | Cft |
| 3 | Crush (Half inch downsize, rounded with a hammer crusher, free from flakiness and elongated shapes.) |  23 | Cft |
| 4 | Bricks A class bricks ((Dimension 9’’X4.5’’X3’’) with frong and regular shape, sharp edges, metallic sound when two bricks strike together, uniform colour and texture). |  1,433 | Nos |
| 5 | Brick Ballast (Crushed bricks pieces/rora) |  19 | Cft |
| 6 | Pre-cast RCC slabs for latrine roof & septic tank (size 1.5'x5'), slabs with bracing and no tray type  |  6 | Nos |
| 7 | Pre-cast RCC slabs for Soakage Pit (size 2'x4'), Slabs with bracing and no tray type |  2 | Nos |
| 8 | Pre Cast RCC/cemented ventilator size 1'X1' thickness 4.5" |  1 | Nos |
|  | **Sanitary Works** |  |  |
| 9 | Air vent pipe PVC (2"dia x 10ft (PVC SCH 26/SDR 41) |  10 | Rft |
| 10 | Fly Screen for air vent pipe (2'' UPVC) |  1 | Nos |
| 11 | PVC Elbow (2" Dia (UPVC) |  2 | Nos |
| 12 | PVC TEE (4" x 2" x4" (UPVC) |  1 | No |
| 13 | PVC Pipe 4" pipe from WC to septic tank & drain, PVC SCH 26/SDR 41) |  20 | Rft |
| 14 | PVC Pipe 3" pipe to drain out waste water from latrine, PVC SCH 26/SDR 41) |  13 | Rft |
| 15 | Indian WC Medium Size white colour  |  1 | Nos |
| 16 | P-Trap (4" ceramic) |  1 | Nos |
| 17 | Solution for PVC pipes 125 Gm  |  1 | Can |
| 18 | Clips for air vent pipe with nails (Iron plate clips and steel nails (2X1.5'' steel nails with one clip) |  4 | Nos |
| 19 | Iron Door (Pre-Painted door Size 2.5'x6' sheet SWG 18, with 1.25" Angel Iron farm and double diagonal bracing SWG 14 approx. weight 16 kg, provided with handles and locking mechanism from both sides, provided with properly welded mesh (jaali) 4'' on the top of door) |  1 | Nos |
| 20 | Wooden lintel of size 4.5"x4.5"x3.5' over door of latrine, wood type sheesham keekar or dayar. |  1 | Nos |
| 21 | Floor Screen 3 inches (plastic or steel) |  1 | Nos |
|  | **Labour services cost** |  |  |
| 22 | Skilled Labour |  5 | Man-days |
| 23 | Unskilled Labour  |  9 | Man-days |
|  | **Total Amount for 1 Latrine inclusive of taxes** |  |

**Delivery Requirements**

|  |
| --- |
| **Delivery Requirements** |
| **Delivery date and time** | Delivery period shall be till the mid of the month of May 2023 |
| **Delivery Terms (INCOTERMS 2020)** | Delivery at Place (DAP) |
| **Customs clearance****(must be linked to INCOTERM** | [ ]  Not applicableShall be done by:[ ]  Name of organisation[x]  Supplier/bidder[ ]  Freight Forwarder |
| **Exact Address(es) of Delivery Location(s)** | The goods should be delivered at the following delivery site/s:Daraban, D.I. Khan |
| **Packing Requirements** | Not required |
| **Training on Operations and Maintenance** | Not required |
| **Warranty Period** | 1 year |
| **After-sales service and local service support requirements** | Click or tap here to enter text. |
| **Preferred Mode of Transport** |  |
| **Other information**  |  |

**ANNEX 2: QUOTATION SUBMISSION FORM**

*Bidders are requested to complete this form, including the Company Profile and Bidder’s Declaration, sign it and return it as part of their quotation along with Annex 3: Technical and Financial Offer. The Bidder shall fill in this form in accordance with the instructions indicated. No alterations to its format shall be permitted and no substitutions shall be accepted.*

|  |  |
| --- | --- |
| Name of Bidder: | Click or tap here to enter text. |
| RFQ reference: | **RFQ/PAK/January/2023/004** | Date: Click or tap to enter a date. |

**VENDOR INFORMATION SHEET[[1]](#footnote-2) (Attached)**

**BIDDER’S DECLARATION OF CONFORMITY[[2]](#footnote-3)**

| **Yes** | **No** |  |
| --- | --- | --- |
|[ ] [ ]  On behalf of the Supplier, I hereby represent and warrant that neither the Supplier, nor any person having powers of representation, decision-making or control over it or any member of its administrative, management or supervisory body, has been the subject of a final judgement or final administrative decision for one of the following reasons: bankruptcy, insolvency or winding-up procedures; breach of obligations relating to the payment of taxes or social security contributions; grave professional misconduct, including misrepresentation, fraud; corruption; conduct related to a criminal organisation; money laundering or terrorist financing; terrorist offences or offences linked to terrorist activities; child labour and other trafficking in human beings, any discriminatory or exploitative practice, or any practice that is inconsistent with the rights set forth in the Convention on the Rights of the Child or other prohibited practices; irregularity; creating or being a shell company. |
|[ ] [ ]  On behalf of the Supplier, I further represent and warrant that the Supplier is financially sound and duly licensed. |
|[ ] [ ]  On behalf of the Supplier, I further represent and warrant that the Supplier has adequate human resources, equipment, competence, expertise and skills necessary to complete the contract fully and satisfactorily, within the stipulated completion period and in accordance with the relevant terms and conditions. |
|[ ] [ ]  On behalf of the Supplier, I further represent and warrant that the Supplier complies with all applicable laws, ordinances, rules and regulations.  |
|[ ] [ ]  On behalf of the Supplier, I further represent and warrant that the Supplier will in all circumstances act in the best interests of IOM. |
|[ ] [ ]  On behalf of the Supplier, I further represent and warrant that no official of IOM or any third party has received from, will be offered by, or will receive from the Supplier any direct or indirect benefit arising from the contract. |
|[ ] [ ]  On behalf of the Supplier, I further represent and warrant that the Supplier has not misrepresented or concealed any material facts during the contracting process. |
|[ ] [ ]  On behalf of the Supplier, I further represent and warrant that the Supplier will respect the legal status, privileges and immunities of IOM as an intergovernmental organization. |
|[ ] [ ]  On behalf of the Supplier, I further represent and warrant that neither the Supplier nor any persons having powers of representation, decision-making or control over the Supplier or any member of its administrative, management or supervisory body are included in the most recent Consolidated United Nations Security Council Sanctions List (the “UN Sanctions List”) or are the subject of any sanctions or other temporary suspension. The Supplier will immediately disclose to IOM if it or they become subject to any sanction or temporary suspension.  |
|[ ] [ ]  On behalf of the Supplier, I further represent and warrant that the Supplier does not employ, provide resources to, support, contract or otherwise deal with any person, entity or other group associated with terrorism as per the UN Sanctions List and any other applicable anti-terrorism legislation. |
|[ ] [ ]  On behalf of the Supplier, I further represent and warrant that, the Supplier will apply the highest ethical standards, the principles of efficiency and economy, equal opportunity, open competition and transparency, and will avoid any conflict of interest.  |
|[ ] [ ]  On behalf of the Supplier, I further represent and warrant that the Supplier undertakes to comply with the Code of Conduct, available at <https://www.ungm.org/Public/CodeOfConduct>. |
|[ ] [ ]  It is the responsibility of the Supplier to inform IOM immediately of any change to the information provided in this Declaration. |
|[ ] [ ]  On behalf of the Supplier, I certify that I am duly authorized to sign this Declaration and on behalf of the Supplier I agree to abide by the terms of this Declaration for the duration of any contract entered into between the Supplier and IOM.  |
|[ ] [ ]  IOM reserves the right to terminate any contract between IOM and the Supplier, with immediate effect and without liability, in the event of any misrepresentation made by the Supplier in this Declaration.  |

Signature:

Name: Click or tap here to enter text.

Title: Click or tap here to enter text.

Date: Click or tap to enter a date.

## **ANNEX 3: TECHNICAL AND FINANCIAL OFFER - GOODS**

*Bidders are requested to complete this form, sign it and return it as part of their bid along with Annex 2: Quotation Submission Form. The Bidder shall fill in this form in accordance with the instructions indicated. No alterations to its format shall be permitted and no substitutions shall be accepted.*

|  |  |  |
| --- | --- | --- |
| Name of Bidder: | Click or tap here to enter text. | PR  |
| RFQ reference: | **RFQ/PAK/January/2023/004** | Date: Click or tap to enter a date. |

|  |
| --- |
| **Currency of the Quotation: PKR****INCOTERMS:** Click or tap here to enter text. |
| **Item No** | **Description** | **UOM** | **Qty** | **Unit price** | **Total price**  |
| 1. 1
 | Construction of One-Room shelter at Daraban DI Khan |  | Civil Works  |  |  |
| 1. 2
 | Construction of IOM POUR FLUSH LATRINE at Daraban DI Khan. |  | Civil Works |  |  |
| **Total Price** |  |
| **Transportation Price** | **N/A** |
| **Insurance Price** | **N/A** |
| **Installation Price** | **N/A** |
| **Training Price** | **N/A** |
| **Other Charges (specify)** |  |
| **Total Final and All-inclusive Price** |  |
| **Bid Validity Period (in days)** |  |
| **Delivery Time (in days)** |  |

**Notes: Please provide detailed cost in separately attached BoQs.**

**Compliance with Requirements**

|  |  |
| --- | --- |
|  | **You Responses** |
|  | **Yes, we will comply** | **No, we cannot comply** | **If you cannot comply, pls. indicate counter proposal** |
| Minimum Technical Specifications |[ ] [ ]  Click or tap here to enter text. |
| Delivery Term (INCOTERMS) |[ ] [ ]  Click or tap here to enter text. |
| Delivery Lead Time |[ ] [ ]  Click or tap here to enter text. |
| Warranty and After-Sales Requirements |[ ] [ ]  Click or tap here to enter text. |
| Validity of Quotation |[ ] [ ]  Click or tap here to enter text. |
| Payment terms |[ ] [ ]  Click or tap here to enter text. |
| Other requirements *[pls. specify]* |[ ] [ ]  Click or tap here to enter text. |

**Other Information:**

|  |  |
| --- | --- |
| Estimated weight/volume/dimension of the Consignment:  |  Click or tap here to enter text. |
| Country/ies of Origin: (*if export licence required this must be submitted if awarded the contract*) | Click or tap here to enter text. |

|  |
| --- |
| I, the undersigned, certify that I am duly authorized to sign this quotation and bind the company below in event that the quotation is accepted. |
| *Exact name and address of the company*Company NameClick or tap here to enter text.Address: Click or tap here to enter text. Click or tap here to enter text.Phone No.: Click or tap here to enter text.Email Address: Click or tap here to enter text. | Authorized Signature: Date: Click or tap here to enter text.Name: Click or tap here to enter text.Functional Title of Authorised Signatory: Click or tap here to enter text.Email Address: Click or tap here to enter text. |

1. [Vendor Information Sheet.xlsx](https://iomint.sharepoint.com/%3Ax%3A/t/ManilaSupplyChainUnit/EcdiXZEFetxEl29DHqMnNLgBnUvABCGiNC-UMMSpf4ddXQ?e=IBVJfN) [↑](#footnote-ref-2)
2. This form is mandatory to fill in and sign by every vendor who submits quotation [↑](#footnote-ref-3)