# **REQUEST FOR QUOTATION (RFQ)**

|  |  |
| --- | --- |
| RFQ Reference: RFQ/PAK/March/2023/100 | Date: 21 March 2023 |

# **SECTION 1: REQUEST FOR QUOTATION (RFQ) for the provision of Solarization of 2 Schools at Attock (Punjab)**

 International Organisation for Migration (IOM) kindly requests your quotation for the provision of goods, works and/or services as detailed in Annex 1 of this RFQ.

This Request for Quotation comprises the following documents:

Section 1: This request letter

Section 2: RFQ Instructions and Data

Annex 2: Quotation Submission Form

Annex 3: Technical and Financial Offer

When preparing your quotation, please be guided by the RFQ Instructions and Data. Please note that quotations must be submitted using Annex 2: Quotation Submission Form and Annex 3 Technical and Financial Offer, by the method and by the date and time indicated. It is your responsibility to ensure that your quotation is submitted on or before the deadline. Quotations received after the submission deadline, for whatever reason, will not be considered for evaluation.

Thank you and we look forward to receiving your quotations.

Approved by:

Signature:

Name: Abeer Alalami

Title: Logistics & Procurement Officer

Date: 21 March 2023

## **SECTION 2: RFQ INSTRUCTIONS AND DATA**

|  |  |
| --- | --- |
| **Deadline for the Submission of Quotation** | **Quotations may be submitted on or before 30th of March 2023, 16:30 GMT+2**If any doubt exists as to the time zone in which the quotation should be submitted, refer to <http://www.timeanddate.com/worldclock/>. |
| **Method of Submission** | Quotations must be submitted as follows: [ ]  E-tendering[x]  Email[ ]  Courier / Hand delivery[ ]  Other Click or tap here to enter text.Bid submission address: **pakbids@iom.int*** File Format: **pdf**
* File names must be maximum 60 characters long and must not contain any letter or special character other than from Latin alphabet/keyboard.
* All files must be free of viruses and not corrupted*.*
* Max. File Size per transmission: **4Mb**
* Mandatory subject of email: **RFQ/PAK/March/2023/100**
* Multiple emails must be clearly identified by indicating in the subject line “email no. X of Y”, and the final “email no. Y of Y.
* It is recommended that the entire Quotation be consolidated into as few attachments as possible.
* The proposer should receive an email acknowledging email receipt.
 |
| **Cost of preparation of quotation** | IOM shall not be responsible for any costs associated with a Supplier’s preparation and submission of a quotation, regardless of the outcome or the manner of conducting the selection process. |
| **Supplier Code of Conduct** | All prospective suppliers must read the UN Supplier Code of Conduct and acknowledge that it provides the minimum standards expected of suppliers to the UN. The Code of Conduct, which includes principles on labour, human rights, environment and ethical conduct may be found at: [Supplier Code of Conduct (ungm.org)](https://www.ungm.org/Public/CodeOfConduct).  |
| **Conflict of Interest** | **UN encourages every prospective Supplier to** avoid and prevent conflicts of interest, by disclosing to UN if you, or any of your affiliates or personnel, were involved in the preparation of the requirements, design, specifications, cost estimates, and other information used in this RFQ. |
| **General Conditions of Contract** | Any Purchase Order or contract that will be issued as a result of this RFQ shall be subject to the IOM General Conditions of Contract for provision of goods/services/transportation/medical services available at https://www.iom.int/do-business-us-procurement.  |
| **Eligibility** | Bidders shall have the legal capacity to enter into a binding contract with IOM and to deliver in the country, or through an authorized representative. |
| **Currency of Quotation** | Quotations shall be quoted in PKR  |
| **Duties and taxes** | The International Organization for Migration is exempt from all direct taxes, except charges for public utility services, and is exempt from customs restrictions, duties, and charges of a similar nature in respect of articles imported or exported for its official use. All quotations shall be submitted net of any direct taxes and any other taxes and duties, unless otherwise specified below: All prices shall:[x]  be inclusive of VAT and other applicable indirect taxes[ ]  be exclusive of VAT and other applicable indirect taxes |
| **Language of quotation and documentation including catalogues, instructions and operating manuals** | English |
| **Documents to be submitted** | Bidders shall include the following documents in their quotation:[x]  Annex 2: Quotation Submission Form duly completed and signed[x]  Annex 3: Technical and Financial Offer duly completed and signed and in accordance with the Schedule of Requirements in Annex 1[x]  **As per attached BOQ**  |
| **Quotation validity period** | Quotations shall remain valid for 60 days from the deadline for the Submission of Quotation. |
| **Price variation** | No price variation due to escalation, inflation, fluctuation in exchange rates, or any other market factors shall be accepted at any time during the validity of the quotation after the quotation has been received.  |
| **Partial Quotes** | [x]  Not permitted[ ]  Permitted  *(please specify, i.e. by LOTs only or by line item, etc)*  |
| **Payment Terms** | [x]  100% within 30 days after receipt of goods, works and/or services and submission of payment documentation.[ ]  Other Click or tap here to enter text.  |
| **Contact Person for correspondence, notifications and clarifications** | Focal Person: Imran ShahidE-mail address: iomisbprocurment@iom.intAttention: Quotations shall not be submitted to this address but to the address for quotation submission above. |
| **Clarifications** | Requests for clarification from bidders will not be accepted any later than Four days before the submission deadline. Responses to request for clarification will be communicated via email by 26 March 2023 |
| **Evaluation method** | [x] The contract will be awarded to the lowest price substantially compliant offer[ ]  Other Click or tap here to enter text. |
| **Evaluation criteria** | [x] Full compliance with all requirements as specified in Annex 1 [x] Full acceptance of the General Conditions of Contract[x] Comprehensiveness of after-sales services[x] Earliest Delivery /shortest lead time [ ] Others *(for ex, environmental criteria/considerations, etc)*   |
| **Right not to accept any quotation** | IOM is not bound to accept any quotation, nor award a contract or Purchase Order |
| **Right to vary requirement at time of award** | At the time of award of Contract or Purchase Order, IOM reserves the right to vary (increase or decrease) the quantity of services and/or goods, by up to a maximum 25% of the total offer, without any change in the unit price or other terms and conditions. |
| **Type of Contract to be awarded** | Agreement  |
| **Expected date for contract award.** | 10 April 2023 |
| **Policies and procedures** | This RFQ is conducted in accordance with Policies and Procedures of IOM  |
| **UNGM registration** | IOM is encouraging all suppliers to register at the United Nations Global Marketplace (UNGM) website at [www.ungm.org](http://www.ungm.org). The Bidder may still submit a quotation even if not registered with the UNGM, however, if the Bidder is selected for Contract award of USD 100,000 and above, the Bidder is recommended to register on the UNGM prior to contract signature. For vendors who do not have the technical means to register in UNGM, the UNGM has implemented an assisted vendor registration functionality that allows IOM procurement personnel to add local vendors to the UNGM.  |

**ANNEX 2: QUOTATION SUBMISSION FORM**

*Bidders are requested to complete this form, including the Company Profile and Bidder’s Declaration, sign it and return it as part of their quotation along with Annex 3: Technical and Financial Offer. The Bidder shall fill in this form in accordance with the instructions indicated. No alterations to its format shall be permitted and no substitutions shall be accepted.*

|  |  |
| --- | --- |
| Name of Bidder: | Click or tap here to enter text. |
| RFQ reference: | RFQ/PAK/March/2023/100 | Date: Click or tap to enter a date. |

**VENDOR INFORMATION SHEET[[1]](#footnote-2)**

**BIDDER’S DECLARATION OF CONFORMITY[[2]](#footnote-3)**

| **Yes** | **No** |  |
| --- | --- | --- |
|[ ] [ ]  On behalf of the Supplier, I hereby represent and warrant that neither the Supplier, nor any person having powers of representation, decision-making or control over it or any member of its administrative, management or supervisory body, has been the subject of a final judgement or final administrative decision for one of the following reasons: bankruptcy, insolvency or winding-up procedures; breach of obligations relating to the payment of taxes or social security contributions; grave professional misconduct, including misrepresentation, fraud; corruption; conduct related to a criminal organisation; money laundering or terrorist financing; terrorist offences or offences linked to terrorist activities; child labour and other trafficking in human beings, any discriminatory or exploitative practice, or any practice that is inconsistent with the rights set forth in the Convention on the Rights of the Child or other prohibited practices; irregularity; creating or being a shell company. |
|[ ] [ ]  On behalf of the Supplier, I further represent and warrant that the Supplier is financially sound and duly licensed. |
|[ ] [ ]  On behalf of the Supplier, I further represent and warrant that the Supplier has adequate human resources, equipment, competence, expertise and skills necessary to complete the contract fully and satisfactorily, within the stipulated completion period and in accordance with the relevant terms and conditions. |
|[ ] [ ]  On behalf of the Supplier, I further represent and warrant that the Supplier complies with all applicable laws, ordinances, rules and regulations.  |
|[ ] [ ]  On behalf of the Supplier, I further represent and warrant that the Supplier will in all circumstances act in the best interests of IOM. |
|[ ] [ ]  On behalf of the Supplier, I further represent and warrant that no official of IOM or any third party has received from, will be offered by, or will receive from the Supplier any direct or indirect benefit arising from the contract. |
|[ ] [ ]  On behalf of the Supplier, I further represent and warrant that the Supplier has not misrepresented or concealed any material facts during the contracting process. |
|[ ] [ ]  On behalf of the Supplier, I further represent and warrant that the Supplier will respect the legal status, privileges and immunities of IOM as an intergovernmental organization. |
|[ ] [ ]  On behalf of the Supplier, I further represent and warrant that neither the Supplier nor any persons having powers of representation, decision-making or control over the Supplier or any member of its administrative, management or supervisory body are included in the most recent Consolidated United Nations Security Council Sanctions List (the “UN Sanctions List”) or are the subject of any sanctions or other temporary suspension. The Supplier will immediately disclose to IOM if it or they become subject to any sanction or temporary suspension.  |
|[ ] [ ]  On behalf of the Supplier, I further represent and warrant that the Supplier does not employ, provide resources to, support, contract or otherwise deal with any person, entity or other group associated with terrorism as per the UN Sanctions List and any other applicable anti-terrorism legislation. |
|[ ] [ ]  On behalf of the Supplier, I further represent and warrant that, the Supplier will apply the highest ethical standards, the principles of efficiency and economy, equal opportunity, open competition and transparency, and will avoid any conflict of interest.  |
|[ ] [ ]  On behalf of the Supplier, I further represent and warrant that the Supplier undertakes to comply with the Code of Conduct, available at <https://www.ungm.org/Public/CodeOfConduct>. |
|[ ] [ ]  It is the responsibility of the Supplier to inform IOM immediately of any change to the information provided in this Declaration. |
|[ ] [ ]  On behalf of the Supplier, I certify that I am duly authorized to sign this Declaration and on behalf of the Supplier I agree to abide by the terms of this Declaration for the duration of any contract entered into between the Supplier and IOM.  |
|[ ] [ ]  IOM reserves the right to terminate any contract between IOM and the Supplier, with immediate effect and without liability, in the event of any misrepresentation made by the Supplier in this Declaration.  |

Signature:

Name: Click or tap here to enter text.

Title: Click or tap here to enter text.

Date: Click or tap to enter a date.

## **ANNEX 3: TECHNICAL AND FINANCIAL OFFER - WORKS**

*Bidders are requested to complete this form, sign it and return it as part of their quotation along with Annex 2 Quotation Submission Form. The Bidder shall fill in this form in accordance with the instructions indicated. No alterations to its format shall be permitted and no substitutions shall be accepted.*

|  |  |
| --- | --- |
| Name of Bidder: | Click or tap here to enter text. |
| RFQ reference: | RFQ/PAK/March/2023/100 | Date: Click or tap to enter a date. |

**Technical Offer**

*Provide the following:*

* *a brief description of your qualification and capacity that is relevant to the Scope of Works;*
* *a brief method statement and implementation plan;*
* *team composition and CVs of key personnel*
* *a brief description of your qualification and capacity that is relevant to the Scope of Works;*
* *a brief method statement and implementation plan;*
* *BoQs duly completed and signed in hard form and a sot copy for evaluation.*
* *Company Profile which should not exceed fifteen (15) pages.*
* *PEC Registration certificate*
* *List and value of similar nature of projects performed for the last 03 years.*
* *List and value of ongoing Projects*
* *Statement of satisfactory Performance (Certificates) from 2 clients in similar field (Rehabilitation/construction/solarization)*
* *Implementation Plan/Timetable/ Gantt Chart for 45 Calendar days*
* *Statement of Warranty on solarization part of BoQs.*
* *CVs of 1-electrical and 1-Civil Engineer*

**Financial Offer**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Description of Works**  | **Unit** | **Qty** | **Unit Price** | **Total Price** |
| 1. Supply & Installation of 08 KW Solar System-GGHS (Govt. Girls High School) Mari Kanjur Attock (**As per attached BOQs)** |  |  |  |  |
| 2. Supply & Installation of 05 KW KW Solar System-GGES (Govt. Girls Elementary School) Mirza Attock. Bara Line-Peshawar **(As per attached BOQs)** |  |  |  |  |
| **Total**  |  |  |  |  |
|  |  |  |  |  |

**Compliance with Requirements**

|  |  |
| --- | --- |
|  | **You Responses** |
|  | **Yes, we will comply** | **No, we cannot comply** | **If you cannot comply, pls. indicate counter proposal** |
| Delivery Lead Time |[ ] [ ]  Click or tap here to enter text. |
| Validity of Quotation |[ ] [ ]  Click or tap here to enter text. |
| Payment terms |[ ] [ ]  Click or tap here to enter text. |
| Other requirements *[pls. specify]* |[ ] [ ]  Click or tap here to enter text. |

|  |
| --- |
| I, the undersigned, certify that I am duly authorized to sign this quotation and bind the company below in event that the quotation is accepted. |
| *Exact name and address of company*Company NameClick or tap here to enter text.Address: Click or tap here to enter text. Click or tap here to enter text.Phone No.: Click or tap here to enter text.Email Address: Click or tap here to enter text. | Authorized Signature: Date: Click or tap here to enter text.Name: Click or tap here to enter text.Functional Title of Authorised Signatory: Click or tap here to enter text.Email Address: Click or tap here to enter text. |

|  |
| --- |
| **BOQ for GGHS Mari Kanjur**  |
|   | **Solarization of School Building** |
| **S.No** | **Description of Work** | **Unit** | **Quantity** | **Unit Rate** | **Amount** |
|   | **GENERAL SPECIFICATION**  **TRANSPORTATION:**  Transpiration and carriage of the system to the location **SERVICES :**  One year aftersales services 1. The system is designed to cover the all loads in the School Buildings. The system will be grid interactive connected system, which will allow for many power sources options. The system will import from the grid when loads are being more than the generated from PV and supply surplus electricity to the batteries when PV generates more than the loads, the batteries can be charged from Grid if PV output is not enough for loads and batteries.2. Contractor shall submit shop drawings of all Electrical ,civil and solar photovoltaic complete system Works, including a single line diagram showing all the components of the PV system, DC and AC distribution boards, PV panels lay out and backup systems and wires cross section for all the system to be approved by the Engineer before executing the work. As well as the catalogs of each component showing the requested specifications stated at the bill of quantity.3. All junction boxes and DBs will be lockable type.4. Upon completion of the installation, the contractor shall organize an onsite training program involving nominated employer's staff. Such a program shall be carried out during the commissioning phase. The cost of the training shall be deemed to have been included in the tendered rates.5. The price includes all builders’ Works, making good and reinstatement including necessary materials and workmanship as well as removal of unwanted materials to dump sites and transmutation cost, asper instruction of Engineer Inch rage. |  |   |   |   |
| 1 | **SOLAR PANEL:**  Supply and Erection of Solar PV Module (Solar Panel) 540 W Mono-crystalline A-Grade (per Watt) 1. Canadian 2. Jinco 3. Inverax 4. Longi 5. JA or equivalent brand approved by the Engineer. With 25 years warranty | **Watts** | 8000 |   |   |
| 2 | **INVERTER:**  Supply and Erection of Hybrid INVERTER (ON-Grid Inverter 0-8 KW) of following brands 1. Sungrow 2. inverex 3. Tesla 4. Nitrox or any Equivalent with Wifi and Monitoring App approved by person Incharge. With 5 years standard waranty |  **Watts** | 8000 |   |   |
| 3 | **BATTERY:**Supply and Erection of Lithium ion LiFeP04 battery 100 Ah,48 volts with 05 Years Warranty with a backup of max 4 hours. Following brands are recommended 1. Narada 2.SES 3.Voltronic 4. Pylon or equivalent and all the other accessories approved by person in charge | **No.** | 2 |   |   |
| 4 | **BATTERY BOX:**  Supply and Erection of BOX / STAND for Batteries SHS Inverter & Charge Controller the batteries should be housed in a vented compartment/stand that prevents users from coming in contact with battery terminals. a. This compartment/stand should be strong enough to accommodate the weight of the battery. b. A mechanism to prevent opening and entry of the battery should be provided. c. This compartment should be manufactured of mild steel of at least 18 SWG. d. The compartment should be powder coated paint. e. The entire enclosure/stand must be constructed to last at least twenty years without maintenance and should be protected against corrosion.  | **Job** | 1 |   |   |
| 5 | **PANEL MOUNTING & STRUCTURE:** GI Rust Proof 14-Gauge Standard Structure Assembled Frames with Imported Galvanized Iron sheets. Sketch of the mounting frame as per the site requirements. Inclusive of all the nuts and bolts required for the fitting.  | **L.S** | 1 |   |   |
| 6 | **CONCRETE PADS:**  PCC 1:2:4 for PV Mounting pads as per requirement including all civil works and installation and instruction of Engineer Inch rage. | **CFt** | 100 |   |   |
| 7 | **PV BALANCE OF SYSTEM:**  Supplying and installation of complete Clipsal Breaker Box , AC Cable , AC Fuses , DC Cable Circuit breakers, Auto changeover switch and DC Fuses//Breakers (63 AMP of Schneider or Himmel or equivalent brand), Including the wiring (Pakistan Cable, Schneider Electric Cable or equivalent) and all the other accessories | **Job** | 1 |   |   |
| **CABLE TRAY**  Local GI Fabricated. Perforated, Gauge: 18 with top cover, bends, Cross etc. complete in all respect. (m). For DC & AC Cable |
| 8 | Supply and Erection of Monitoring metersDC Voltmeter (Solar panel/battery)AC Voltmeter (WAPDA/Load) | **Job** | 1 |   |   |
| 9 |  Supply ,install and connect all DC cables appropriately sized (10mm or as per need) in accordance with the installation requirements and to connect the inverter with PV system designed with all conduits, clamps, trays and cable terminations end which shall be DC plug and socket connectors and workmanship needed to have a complete job, the allowable voltage drop for DC cables between inverter and PV system less than 3%. Fast, Pakistan cable or Equivalent  | **Job** | 1 |   |   |
| 10 |  Supply ,install and connect all AC cables appropriately sized (10mm or as per need) in accordance with the installation requirements and to connect the inverter with PV system designed with all conduits, clamps, trays and cable terminations end which shall be DC plug and socket connectors and workmanship needed to have a complete job, the allowable voltage drop for DC cables between inverter and PV system less than 3%.Pakistan cable  | **Job** | 1 |   |   |
| 11 | **SOLAR SYSTEM EARTHING:**  Installation, commissioning and testing of earthing system including GI Rod, Copper lightening arrestor, Grounding Pit with wiring and Earthing Cables including all the accessories complete in all respect  | **Job** | 1 |   |   |
| **BOQ for GGES Mirza #2**  |
|   | **Solarization of School Building** |
| **S.No** | **Description of Work** | **Unit** | **Quantity** | **Unit Rate** | **Amount** |
|   | **GENERAL SPECIFICATION**  **TRANSPORTATION:**  Transpiration and carriage of the system to the location **SERVICES :**  One year aftersales services 1. The system is designed to cover the all loads in the School Buildings. The system will be grid interactive connected system, which will allow for many power sources options. The system will import from the grid when loads are being more than the generated from PV and supply surplus electricity to the batteries when PV generates more than the loads, the batteries can be charged from Grid if PV output is not enough for loads and batteries.2. Contractor shall submit shop drawings of all Electrical ,civil and solar photovoltaic complete system Works, including a single line diagram showing all the components of the PV system, DC and AC distribution boards, PV panels lay out and backup systems and wires cross section for all the system to be approved by the Engineer before executing the work. As well as the catalogs of each component showing the requested specifications stated at the bill of quantity.3. All junction boxes and DBs will be lockable type.4. Upon completion of the installation, the contractor shall organize an onsite training program involving nominated employer's staff. Such a program shall be carried out during the commissioning phase. The cost of the training shall be deemed to have been included in the tendered rates.5. The price includes all builders’ Works, making good and reinstatement including necessary materials and workmanship as well as removal of unwanted materials to dump sites and transportation cost. |  |   |   |  |
| 1 | **SOLAR PANEL:**  Supply and Erection of Solar PV Module (Solar Panel) 540 W Mono-crystalline A-Grade (per Watt) 1. Canadian 2. Jinco 3. Inverax 4. Longi 5. JA or equivalent brand approved by the Engineer. With 25 years warranty | **Watts** | 5000 |   |   |
| 2 | **INVERTER:**  Supply and Erection of Hybrid INVERTER (ON-Grid Inverter 0-8 KW) of following brands 1. Sungrow 2. inverex 3. Tesla 4. Nitrox or any Equivalent with Wifi and Monitoring App approved by person In charge. With 5 years standard warranty |  **Watts** | 5000 |   |   |
| 3 | **BATTERY:**Supply and Erection of Lithium ion LiFeP04 battery 100 Ah,48 volts with 05 Years Warranty with a backup of max 4 hours. Following brands are recommended 1. Narada 2.SES 3.Voltronic 4. Pylon or equivalent and all the other accessories approved by person in charge | **No.** | 1 |   |   |
| 4 | **BATTERY BOX:**  Supply and Erection of BOX / STAND for Batteries SHS Inverter & Charge Controller the batteries should be housed in a vented compartment/stand that prevents users from coming in contact with battery terminals. a. This compartment/stand should be strong enough to accommodate the weight of the battery. b. A mechanism to prevent opening and entry of the battery should be provided. c. This compartment should be manufactured of mild steel of at least 18 SWG. d. The compartment should be powder coated paint. e. The entire enclosure/stand must be constructed to last at least twenty years without maintenance and should be protected against corrosion. Reference Picture attached  | **Job** | 1 |   |   |
| 5 | **PANEL MOUNTING & STRUCTURE:** GI Rust Proof 14-Gauge Standard Structure Assembled Frames with Imported Galvanized Iron sheets. Sketch of the mounting frame as per the site requirements. Inclusive of all the nuts and bolts required for the fitting.  | **L.S** | 1 |   |   |
| 6 | **CONCRETE PADS:**  PCC 1:2:4 for PV Mounting pads as per requirement including all civil works and installation and instruction of Engineer Inch rage. | **CFt** | 60 |   |   |
| 7 | **PV BALANCE OF SYSTEM:**  Supplying and installation of complete Clipsal Breaker Box , AC Cable , AC Fuses , DC Cable Circuit breakers, Auto changeover switch and DC Fuses//Breakers (63 AMP of Schneider or Himmel or equivalent brand), Including the wiring (Pakistan Cable, Schneider Electric Cable or equivalent) and all the other accessories | **Job** | 1 |   |   |
| **CABLE TRAY**  Local GI Fabricated. Perforated, Gauge: 18 with top cover, bends, Cross etc. complete in all respect. (m). For DC & AC Cable |
| 8 |  Supply ,install and connect all DC cables appropriately sized (10mm or as per need) in accordance with the installation requirements and to connect the inverter with PV system designed with all conduits, clamps, trays and cable terminations end which shall be DC plug and socket connectors and workmanship needed to have a complete job, the allowable voltage drop for DC cables between inverter and PV system less than 3%. Fast, Pakistan cable or Equivalent as per Specification of KP Govt for Solar system. | **Job**  | 1 |   |   |
| 9 |  Supply ,install and connect all AC cables appropriately sized (10mm or as per need) in accordance with the installation requirements and to connect the inverter with PV system designed with all conduits, clamps, trays and cable terminations end which shall be DC plug and socket connectors and workmanship needed to have a complete job, the allowable voltage drop for DC cables between inverter and PV system less than 3%.Pakistan cable or Equivalent as per Specification of KP Govt for Solar system. | **Job** | 1 |   |   |
| 10 | Supply and Erection of Monitoring metersDC Voltmeter (Solar panel/battery)AC Voltmeter (WAPDA/Load) | **Job** | 1 |   |   |
| 11 | **SOLAR SYSTEM EARTHING:**  Installation, commissioning and testing of earthing system including GI Rod, Copper lightening arrestor, Grounding Pit with wiring and Earthing Cables including all the accessories complete in all respect  | **Job** | 1 |   |   |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |
| **General Note: -**i) Payment do be done to vendor as per Actual work done on site. ii)Vendor will submit MB of All Work done on site on Completion.iii)All material Samples to be approved by the Engineer in charge prior to the installation and execution of activity.iv)In case of any changes of work activities on site approval from the engineer in charge would be needed. v)The price includes all builders’ Works, making good and reinstatement including necessary materials and workmanship as well as removal of unwanted materials to dump sites and transmutation cost, asper instruction of Engineer Inch rage.vi)As per national policy “The children under the age of 18 years cannot be employed and not be involve at any stage of construction- Process. vii)All HSE related precautionary measure should be followed by vendor on site and the cost of HSE should include in quoted rates. |  |

1. [Vendor Information Sheet.xlsx](https://iomint.sharepoint.com/%3Ax%3A/t/ManilaSupplyChainUnit/EcdiXZEFetxEl29DHqMnNLgBnUvABCGiNC-UMMSpf4ddXQ?e=IBVJfN) [↑](#footnote-ref-2)
2. This form is mandatory to fill in and sign by every vendor who submits quotation [↑](#footnote-ref-3)