## BOQ
International Organisation for Migration-IOM
HRRU-QIPs
Project: Repair and Rehablitation of Metarnity room & Emergency ward at Urban Health Center Orangi Town
S No | Description | Qunatiy | Unit | Rate | Amount
General Note:- i).Payment will be paid to vendor as per Actual work done on site.And Vendor will submit MB of All Work done on site on Completion. ii).Prior start of any Activities the materials sample must be approved from Engineer In charge and approved material will be used. iii). All Activities will be done As per Engineering Standards and Specifications ofGovt of Sindh. iv).If Any changes would require on site ,would be review and approve for Engineer In charge prior Execution. v) Vendor to provide warranty of machinery, tools and equipmet along with the brochures. vi).The price includes all builders’ Works, making good and reinstatement including necessary materials and workmanship as well as removal of unwanted materials to dump sites and transportation cost, asper instruction of Engineer Inchrage. vii)As per national policy “The children under the age of 18 years cannot be employed and not be involve at any stage of construction- Process. viii)All HSE related precautionary measure should be followed by vendor on site and the cost of HSE should include in quoted rates. ix).Employer is obligated to provide PPEs such as high vis vests, safety googles and safety harnesses to construction site workers and the Cost should inculde in the items Quoted Rates.
A | Civil Works
1 | Removal and relocation of Iron work, MS iron sheet welded with iron bar palced in masonry wall located along the ramp beside waiting area having total area of 90 Sft and then shifting it to a new location within the facility as directed by the engineer in charge.
|  | 1 | Job |  | 0
2 | Providing and laying Block Masonry , 4" thick Cement concrete solid block Masonry of compressive strength (1800Psi) set in 1 : 6 cement sand mortar in plinth and foundation including raking out joints and curing etc. complete.
|  | 35.1318 | Cft |  | 0
3 | Removing damaged cement or lime plaster from walls and Ceiling ground floor upto 12 ft height
|  | 402 | Sft |  | 0
4 | Providing and applying cement plaster (1:4) upto 12' height 1/2" thick for internal ceiling ground floor including all corners,recesses,jambs,racking out joints of masonary scaffolding etc complete in all respect as per standard specification, drawing and entire satisfication of the Engineer.
| Ceiling | 402 | Sft |  | 0
5 | Providing and applying cement plaster (1:4) upto 12' height 1/2" thick (Only for block masonary wall) ground floor including all corners,recesses,jambs,racking out joints of masonary scaffolding etc complete in all respect as per standard specification, drawing and entire satisfication of the Engineer.
| Wall | 212.92 | Sft |  | 0
6 | Providing and laying Tiles master/shabbir tile or same tiles as the existing one on external walls upto 20 ft 1/4" thick laid in pigment over 1:2 cement sand mortar 3/4"thick including finishing, complete in all respect as per standard specification, drawing and entire satisfication of the Engineer.
| Wall | 350 | Sft |  | 0
7 | Providing and fixing PVC wall Panelling P/F 9'' wide and 10 ft in height PVC wall paneling over Existing tile/ plastered surface with high quality PVC panel complete with all fittings like cleats nails screw etc. The rates inclusive wastage, labour and other necessary fittings complete in all Respect
|  | 895.4 | Sft |  | 0
8 | Providing and fixing Fiber panels Board false ceiling of approved size 1/2"-3/4"(13 mm) thick 2' x 2' fiber board and shape hunged by approved suspension system, including provision of extra framing for lights fittings, A/C diffusers and around columns, etc, complete in all respect as directed by the Engineer.
|  | 664.25 | Sft |  | 0
9 | Scraping the old surface: Ordinary distemper, oil bound distemper or paint off wall
|  | 5346 | Sft |  | 0
10 | Providing and applying on all internal walls matt emulsion finish ,preparing the surface and painting with matt emulsion finish I/c rubbing the surface with Bathy (silicon carbide rubbing brick) filing the voids with zink/chalk / plaster of paris mixture, applying first coat premix, making the surface smooth and then painting 3 coats with matt finish of approved make ICI/Berger etc: complete(Old surface)
| Internal Building Walls | 3507 | sft |  | 0
11 | Distempering Ceiling with good quality synthetic polyvinyl (SPD) emulsion finish of approved shade in two or more coats over and including the cost of priming coat including preparation of surface viz. dusting, sand papering or rubbing with pumice stone, filling cracks or holes, if any, removing blisters or other imperfections at any height and ground floor.
| Ceiling | 1839.5 | sft |  | 0
12 | Painting doors & windows any type. 2nd and Subsequent Coat
|  | 492 | sft |  | 0
13 | Providing and applying synthetic enamel paint on iron and steel grills and doors, preparing the surface by removing any rust and corrosion using wire brushes and sandpaper, and then painting in 2 coats with anti-corrosive enamel paint of approved make, such as ICI/berger.
| Iron Grills | 226 | Sft |  | 0
14 | Removing Existing Fiber Glass Sheet and refixing the new one Removing the existing fiber glass sheet along with supplying and installing a new fiber glass sheet of approved shade and color, shaping it as required, and securely fixing it onto the existing MS structure. This process also includes painting the exposed metal frame surface with three coats of synthetic enamel paint, along with an additional coat of red oxide paint, ensuring compliance with specified standards and seamless integration with the surroundings.
|  | 37.5 | Sft |  | 0
|  | Total Civil Works (A) |  |  | 0
B | Electrical Works
15 | Point Wiring Providing & laying (MAIN or SUB MAIN) PVC insulated with three core copper conductor 300/500 volts size 1.5mm2 4mm2
|  | 80 | Rft |  | 0
16 | Point Wiring Providing and laying, wiring for light, fan point PVC Insulated with size 3-3/0.029 copper conductor cables, pakistan cables or other equivalent in ¾" channel patti on surface with all bends, elbows, junctions as required
|  | 4 | Points |  | 0
17 | Switchs and Sockets Providing and fixing 4 gang switched socket 10 Amp with back box (6"x3") make clipsil, legrand, ABB or other equivalent
|  | 2 | Nos |  | 0
18 | LED Panel Lights Providing and fixing & Connecting of 40W false ceiling light fixture 2'x2' LED Type philips/Osaka/Sogo complete in all respect
|  | 10 | Nos |  | 0
19 | False Ceiling Fan Providing and fixing & Connecting of false ceiling fan 2'x2' of Pak/Royal or Younus or equvialent make complete in all respect
|  | 8 | Nos |  | 0
20 | Fan Supply and install 56" (1.42 m) sweep ceiling fan with fan hook and dimmer complete with all accessories.
|  | 2 | Nos |  | 0
21 | LED light Supply and erection of AC energy efficient LED light/Bulbs (7-10 W) along with brass batten holder
|  | 15 | Nos |  | 0
|  | Total Electrical Works (B) |  |  | 0
D | Plumbing Works
22 | Supply, installation,testing and commisioning of PPR-PN-20 water supply pipes as per DIN 8077-8078 with molded fittings PN-25 as per DIN 16962 including pipe supports cutting, fitting, joinning and testing/commisioning all accessories as per specification and Engineers approval
| 1/2" dia | 80 | Rft |  | 0
| 3/4" dia | 70 | Rft |  | 0
23 | Providing and fixing squatting type water closet white glazed earthen ware W.C. pan with front flush inlet & complete with including the cost of flushing cistern with internal fitting and flush pipe with bend and making requisite number of holes in walls, plinth & floor for pipe connection & making good in cement concrete 1:2:4. with earthen ware trap and plastic thumble.
|  | 1 | Nos |  | 0
24 | Providing and fixing 24x18" lavatory basin in white glazed earthen ware complete with & including the cost of W.I. or C.I. cantilever bracket 6 inches built into wall, painted white in two coats after a primary coat of red lead paint, a pair of ½" dia chrome plated pillar taps, 1-1/2" rubber plug & chrome plated brass chain 1-1/4" dia malleable iron or C.P. brass traps malleable iron or brass unions and making requisite number of holes in walls, plinth & floor for pipe connection & making good in cement concrete 1:2:4 (Standard Pattern) (Karam Ceramics).
|  | 1 | Nos |  | 0
25 | Add extra for providing & fixing of earth ware pedestal white or coloured Glazed ( Standared pattern)
|  | 1 | Nos |  | 0
26 | Providing, fixing, testing and commissioning of µ-PVC (Unplasticized Polyvinyl Chloride ) Nikasi/ waste pipe make of Dadex /Popular/Beta or equivalent, plain /socket ended conforming to code EN-1329 of specified SDR (Standard Dimension Ratio) including the cost of specials and Solvents complete in all respect as approved and directed by the Engineer In charge Type (SDR 32.5/SN-8)
| 4" dia | 60 | Rft |  | 0
|  | Total Plumbing Works (D) |  |  | 0
E | Wood Works and Other Misc Items
27 | Wooden Partition Wall including sound proof panels Wooden Partition Wall including soundproof panels. Providing and fixing 3" thick wooden partition wall made of partial wood frame of 2"x1" wood battens, jointed at 2'x2' both ways along with soundproofing panels. The partition is fixed to the floor and up to ceiling height, with both sides topped with 1/2" thick MDF and lipping on all edges made of knot-free wood. Provide grooves, including all nails, screws, glues, and the partition will include the doors, along with door handles, including holdfasts, hinges, iron tower bolts, handles, and cleats with cord, etc., complete.
|  | 225.5 | Sft |  | 0
28 | Wooden Partition Wall Providing and fixing 3" thick wooden partition wall made of partal wood frame of 2"x1" wood batons, jointed at 2'x2' both ways fixed to floor and upto Cieling height, both sides toped with 1/2" thick MDF and lipping on all edges made of knot free wood, provide grooves, including all nails,screws,glues and the partion will include the doors to be made from the same, along with door handles including hold fasts, hinges, iron tower bolts, handlesand cleats with cord etc, complete.
|  | 518.75 | Sft |  | 0
29 | Doors Providing and fixing of flush door 38mm thick with malysian ply (Pak made) 3mm skin on both sides internal frame of partal wood Second class 75mmx 32 mm hydraullically hot pressed with glue in any design shape complete including door knob,, iron tower bolts.
|  | 35 | Sft |  | 0
30 | Aluminum Door Supplying & fixing in position Aluminum channels framing for hinged doors double leaf along with 5mm thick tinted glass glazing (Belgium)
|  | 35 | Sft |  | 0
31 | Iron Steel Grill Door Providing and fixing iron steel grill door with angle iron frame of 1 1/2" x 1 1/2" x 1/4" and flat iron of 3/4" x 1/4" with approved design and locking arrangement embeded in Masonry as per instructions of Engineer in charge. I/c painting 3 coats with 1st coat of red oxidepaint etc.
|  | 70 | Sft |  | 0
32 | Remove the existing Aluminum windows.removing the exsisting damaged windows along with the frames complete in all respect
|  | 36 | Sft |  | 0
33 | Window Providing and fixing in position UPVC windows and ventilators along with frames of unplasticized polyvinyl chloride (UPVC) with fly screen in/c handles stoppers looking arrangement etc complete Deluxe model etc complete as per direction Engineer / Incharge.
|  | 36 | Sft |  | 0
34 | Table Supplying and placing table L5.75' W 3' Wooden and external shell work for fine finishing in accordance with approved brands, as well as desired designs. Complete in all aspect as directed and approved by Engineer in charge.
|  | 3 | Nos |  | 0
35 | Chairs Supplying and Placing revolving chairwith cushioned Seat and Back, frame as per manufacturer's specs, approved color and sample, Having 5-star revolving adjustable threaded pedestal, durable& load bearing castor wheels. complete as per manufactures specification or as directed by engineer.
| Doctors and staff Chairs | 3 | Nos |  | 0
36 | Chairs Supplying and Placing chair withS.S legs, frame and PU seat and back, finishasperapprovedcolorandsample asshowninpicture orequivalentaspermanufacturer's specification, or as directed by engineer
| Chairs without arm | 4 | Nos |  | 0
37 | Waiting area chairs Supplying and placing of three Seater set stainless steel chairs visitor chairs, ergonomically designed
|  | 4 | Set |  | 0
38 | Supplying and installing an infant incubator within the labor room, inclusive of all essential items, accessories, and ensuring the fitting of necessary electrical points, complete in all respect.
|  | 1 | Set |  | 0
39 | Visibility Board Provision & installation of visibility Board (2x2) Steel with printing and Logos (Design Approved by Engineer)
|  | 1 | Nos |  | 0
|  | Wood Works and Other Misc Items (E) |  |  | 0
Total Cost (A+B+C+D+E) |  |  |  |  | 0